## Facility water data
Testing group | Building number | Building name | Previous Fixture ID | Fixture ID Date Change | Fixture ID | Comments | Mitigation type | Fixture status | Average total lead (mg/L) | Tier 1 (mg/L) | Tier 2 (mg/L) | Sample time
Facilities | 1465 | Wann Road Youth Residence |  |  | KS-1 | Basement Kitchen Sink (1/2) | N/A | Passed | N/A | 0.00076 | 0.00026 | 2024-10-25 21:33
Facilities | 1465 | Wann Road Youth Residence |  |  | KS-2 | Basement Kitchen Sink (2/2) | N/A | Passed | N/A | 0.00043 | 0.00038 | 2024-10-25 21:15
Facilities | 1214 | Children's Receiving Home Boys |  |  | KS-1 |  | N/A | Passed | ND | N/A | N/A | 2026-04-06 15:00
Facilities | 1214 | Children's Receiving Home Boys |  |  | KS-2 |  | N/A | Passed | ND | N/A | N/A | 2026-04-06 15:10
Facilities | 6700 | Bubbles Daycare at Del Van Gorder School |  |  | KS | Kitchen Sink | N/A | Passed | 0.0012 | NT | NT | 2024-11-05 07:30
Facilities | 6700 | Bubbles Daycare at Del Van Gorder School |  |  | DF |  | N/A | Passed | ND | ND | ND | 2024-11-05 07:37
Facilities | 1315 | Gadzoosdaa Student Residence |  |  | DF-1 |  | N/A | Passed | N/A | NT | NT | 2024-10-25 21:06
Facilities | 1315 | Gadzoosdaa Student Residence |  |  | KS-1 |  | N/A | Passed | N/A | NT | NT | 2024-10-25 21:23
Facilities | 1315 | Gadzoosdaa Student Residence |  |  | DF-2 |  | N/A | Passed | N/A | NT | NT | 2024-10-25 21:30
Facilities | 1241 | Klondike Group Home |  |  | KS-1 | Kitchen sink 1st floor | N/A | Passed | ND | N/A | N/A | 2026-04-06 14:30
Facilities | 1241 | Klondike Group Home |  |  | KS-2 | Kitchen Sink Basement | N/A | Passed | ND | N/A | N/A | 2026-04-06 14:30
Facilities | 1251 | Liard Group Home |  |  | KS-1 | Kitchen sink 1st floor | N/A | Passed | ND | N/A | N/A | 2026-04-06 14:00
Facilites | 6731 | Tu Lidlini Daycare at Ross River Community Centre |  |  | KS-1 |  | N/A | Passed | 0.0036 | NT | NT | 2024-11-05 07:45
Facilities | 6731 | Tu Lidlini Daycare at Ross River Community Centre |  |  | KS-2 |  | N/A | Passed | ND | NT | NT | 2024-11-05 07:46
Facilities | 1306 | Young Offenders Facility |  |  | KS-1 | Kitchen Sink (1/4) | N/A | Passed | N/A | 0.0015 | 0.0012 | 2024-10-25 20:22
Facilities | 1306 | Young Offenders Facility |  |  | KS-2 | Kitchen Sink (2/4) | N/A | Passed | N/A | 0.0012 | 0.0011 | 2024-10-25 20:35
Facilities | 1306 | Young Offenders Facility |  |  | KS-3 | Kitchen Sink (3/4) | N/A | Passed | N/A | 0.0014 | 0.00095 | 2024-10-25 21:24
Facilities | 1306 | Young Offenders Facility |  |  | KS-4 | Kitchen Sink (4/4) | N/A | Passed | N/A | 0.0025 | 0.0004 | 2024-10-25 21:07
Facilities | 1306 | Young Offenders Facility |  |  | S-1 | Bathroom sink | Signage | No further action required | N/A | 0.025 | 0.0022 | 2025-05-14 19:13
Facilities | 1306 | Young Offenders Facility |  |  | S-2 | Control Room Sink | N/A | Passed | N/A | 0.0008 | 0.0011 | 2024-10-25 21:08
Facilities | 1306 | Young Offenders Facility |  |  | S-3 | Laundry Room Sink | N/A | Passed | N/A | 0.00048 | ND | 2025-08-14 19:10
Facilities | 1289 | Youth Achievement Centre |  |  | KS-1 | 1st floor Kitchen Sink | N/A | Passed | ND | N/A | N/A | 2026-04-06 14:45
Facilities | 1289 | Youth Achievement Centre |  |  | S-1 | 1st floor Bathroom Sink | N/A | Passed | N/A | 0.0043 | 0.00092 | 2024-10-25 20:33
Facilities | 1289 | Youth Achievement Centre |  |  | S-2 | 2nd floor Bathroom Sink (1/2) | N/A | Passed | N/A | 0.0013 | ND | 2024-10-25 20:42
Facilities | 1289 | Youth Achievement Centre |  |  | S-3 | 2nd floor Bathroom Sink (2/2) | N/A | Passed | N/A | ND | 0.00084 | 2024-10-25 21:14
Facilities | 1289 | Youth Achievement Centre | KS-4 | 2026-04-01 | KS-2 | Workshop Kitchen Sink | N/A | Passed | ND | N/A | N/A | 2026-04-06 14:50
Facilities | 1289 | Youth Achievement Centre |  |  | S-4 | Workshop Bathroom Sink | N/A | Passed | N/A | 0.0028 | 0.00038 | 2024-10-25 20:28
Facilities | 1286 | Children's Receiving Home Girls |  |  | S-1 | 1st floor bathroom sink | N/A | Passed | N/A | 0.00037 | ND | 2024-10-25 20:21
Facilities | 1286 | Children's Receiving Home Girls |  |  | KS-1 | 2nd floor Kitchen Sink | N/A | Passed | ND | N/A | N/A | 2026-04-06 15:00
Facilities | 1227 | Nakwaye Ku Daycare at Yukon University |  |  | KS-1 | Kitchen Sink | N/A | Passed | ND | N/A | N/A | 2026-04-06 14:00
Facilities | 1227 | Nakwaye Ku Daycare at Yukon University |  |  | S-1 | Lavatory Sink (2/2) | N/A | Passed | N/A | 0.00073 | ND | 2024-10-25 18:54

## Definitions
Word or acronym | Definition
ND | "Not detected." This means that no lead was detected in the water sample.
NT | "Not tested." This means the fixture was not tested because: • prior sampling revealed that water coming from this fixture respected the Guidelines for Canadian Drinking Water Quality; or • the appropriate mitigation was taken.
Passed | The fixture meets the Guidelines for Canadian Drinking Water Quality for the concentration of lead in water.